## Slide 1
Improving Preparedness of Communities for Evacuations using ZEVs
Planning Infrastructure Investments
Saeed Aliamooei Lakeh (UC Santa Cruz)
December 05, 2024

## Slide 2: Introduction
Saeed Aliamooei Lakeh
Smart Power Lab
Advisors:
Dr. Keith Corzine
Dr. Leila Parsa
saliamoo@ucsc.edu
PhD Student,
Electrical and Computer Engineering Department,
University of California, Santa Cruz.
Power Systems Planning, Operation, and Control
Power Electronics Converters
Microgrids Control and Stability
Renewable Energy Sources and Electric Vehicles
Field of Research:

## Slide 3: Outline
Evacuation Scenario
Results and Discussion
Infrastructure Investment
Operation and Resilience
Fact Sheet
Overview of the Project Procedure

## Slide 4: Structure of the Systems: Power and Transportation

## Slide 5: Overview of Task #2
Electrical Factors
Infrastructure Vulnerability Analysis
Transportation Networks
Failure Rate
Uncertainties
Traffic and Road Expansion
Fastest Path
Suitable Method
Prediction and forecasting
Decision-aid Tools
Specifications of Systems
Power Systems
Vulnerability Analysis
and Power System Operation
Cost-benefit Infrastructures
Weights from experts
Microgrids
Renewable Energy Sources
Energy Storage Systems
Best action
in evacuations
Charging Stations
Existing Roads
Optimization Problem
Operation and Planning
Electrical Vehicles

## Slide 6: Power Systems Studies

## Slide 7: Case Study
Buses:
Number of Buses: 24
Bus Types: Includes slack (reference), generator, and load buses
Voltage Levels:
Multiple voltage levels: Common ones might be 138 kV and 230 kV
Generators:
Locations: Specified at certain buses (not all buses have generators)
Use cases: 7-bus, 24-bus, and 37-bus power system

## Slide 8: Infrastructure Investment

## Slide 9: Results and Discussion (Optimal Power Flow)
N-1: Generator #21 Fails

## Slide 10: Evacuation Scenario - 1
Scenario 1: Minimal ZEV Adoption Limited grid stress, underutilized infrastructure. Highlighted need for adaptive load management.
Scenario 2: Moderate ZEV Penetration Increased grid complexity and charging demand. Real-time OPF managed demand but revealed bottlenecks.
Scenario 3: High ZEV Adoption Significant grid challenges: voltage drops, power losses. Renewable integration and ESS improved resilience.

## Slide 11: Evacuation Scenario - 2

## Slide 12: Evacuation Scenario - 3
Evacuation Impact: Sharp demand peaks highlight stress on the grid during evacuation. Concentrated charging period requires advanced load management.
Grid Challenges: High demand can lead to instability without proper management. Real-time OPF and demand response strategies are essential.
Recommendations:
Increase charging station capacity at high-demand buses (Infrastructure investment).
Deploy Energy Storage Systems (ESS) for peak demand buffering.
Use AI tools for demand forecasting and real-time adjustments.

## Slide 13: Community Partners
Challenges in the Project:
1. Data Gaps:
Lack of detailed real-time ZEV charging demand and grid data.
Limited access to historical outage and emergency response records.
2. Uncertainty in Evacuation Scenarios:
Highly dynamic ZEV loads and unpredictable demand spikes.
Need for robust models to simulate real-world evacuation scenarios.
3. Integration Issues:
Balancing ZEV charging with grid stability and renewable integration.

## Slide 14: Community Partners
Data Requests:
1. ZEV Charging Infrastructure and Energy Need:
Locations and capacities of existing charging stations.
Charging demand patterns during normal and emergency conditions.
2. Power System Resilience:
Historical data on power outages during emergencies.
Current capacities and response times of energy storage systems.
availability of renewable energy sources at different locations.
3. Evacuation Scenarios: Records of previous disaster and evacuation events involving ZEVs.
4. Emergency Management Criteria: Key factors for prioritizing infrastructure investments and constraints during evacuations.

## Slide 15: Q&A?
Thanks for your attention!
saliamoo@ucsc.edu
My LinkedIn: